## Slide 1
Direct Search for Particle Dark Matter
c

## Slide 2
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 3
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 4
Suche nach der Dunklen Materie
im Universum
Time
Size of the Universe
W < 1
Time
W > 1
curved universe (space)
Mass- (Energy-) Density W of the Universe ?
= 1 critical density
flat universe
(euklidian geometry)
5 GeV / m3
5 protons / m3
5 keV / cm3
visible matter Wvisible~ 0.01
curvature ~ W -1

## Slide 5
Dark Energy Wvac = 73 %
Dark Matter Wmat = 23 %
normal Matter Wmat = 4%
‘Standardmodel’ of Cosmology
How does it fit to the
Standardmodel of Particle Physics

## Slide 6
distance to center
=> Dark Matter halo in galaxy
Keplers‘s Law
~
1
a
Dark Matter - Evidence
rotation curves
(orbital speed vs radius)
of galaxies
orbital velocity
W Mat >
there must be more matter in the universe than we see

## Slide 7
- gravitation Wmatter
- coupling to radiation Wbaryon
Cosmic Microwave Background – Matter-Density Wmatter
Wmatter = 0.27
Wbaryon = 0.044
u
d
e
=> Wmatter >Wlum ̰ ~ 0.01
mostly Dark Matter
Anisotropy:
Angular scale => geometry, Wtot
Intensities => gravitational potentials, matter densities
=> Wmatter >> Wbaryon
Wilkinson
Microwave
Anisotropy
Probe
Wtot=1

## Slide 8
Dark Matter is (mostly) NOT Baryons
todays ratio between
neutron-and proton-density
= n/p-ratio at the time
nuclei formed
depends on baryon (p&n)-density
 light element abundance
(He, D, 3He)  n/p-ratio
(0.01)
(0.30)
light elements  baryon density
He

## Slide 9: Formation of Structure in the Universe
an overdense
cloud collapses
by Gravity
time
Scale
for
collapse
free fall time
if sound travels
through cloud
faster
than collapse time
Oscillations,
but not collapse
structure formation
needs a minimum
cloud size
Jeans mass
as lighter particles making up a cloud,
as larger is Jeans mass, as more are small scales suppressed

## Slide 10
Wmatter ~ 0.30
< 0.02
Wn
mni < 1.2eV
Wn < 0.02
Why not Neutrinos ?
Dark Matter is (mostly) NOT Neutrinos

## Slide 11: Dark Matter – Standardmodel is running out of Particles
‘n too light‘ =>
most of the
Dark Matter
is cold
of so far unknown
weakly interacting,
massive particles
WIMPs
(50GeV~1000GeV
Neutralino?)
or
AXIONs
cold
Dark Matter
(CDM)
0.23
‘normal‘
baryonic matter
0.04
0.001 < n < 0.02
(HDM)
u
d
e
?
ne
from n-oscillations
=> Smn > 0.05eV
Wmat = 0.27

## Slide 12
Dark
Matter
~85% of the mass Wmat of the
universe is unknown
non-baryonic
search for
physics beyond
the Standard Model
observations in
Cosmology
Particle Physics
new elementary particles
supersymmetry: Neutralinos
Gravitino
 perfect particle Dark Matter candidates (WIMP)
QCD: Axions

## Slide 13: Elementary Particles in the early Universe – Thermal Relics
if expansion rate of the universe
grows larger than
annihilation rate
as soon as
:
density
falls exponentially
for
=>
of the order of weak interaction
´Freeze Out´density
as long as
:
density
is constant

## Slide 14
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 15: WIMP Detection
direct detection
indirect detection
c

## Slide 16: WIMP Indirect Detection
c
c
c
c
c
c
c
nm
m
WIMP over-density in
sun, earth or galactic center
search high energy products
from WIMP anihilation

## Slide 17
WIMP Indirect Detection
- Neutrino Telescopes
in ice
nm
m
AMANDA at the South pole
ANTARES; NESTOR
in the Mediterranean
SuperK
upward-going
muons
in water

## Slide 18: High Energy g-Rays from the Galactic Center, or high energy gamma background
g-ray telescopes: HESS, MAGIC, ...
g-ray satellites: EGRET, GLAST, ...
GLAST
Anti-Matter from WIMP annihilation:
Antimatter (Anti-Deuteron) Searches: AMS, PAMELA, ...

## Slide 19
nuclear recoils:
WIMP - Direct Detection
Weakly Interacting Massive Particles = WIMPs
elastic scattering on nuclei
if WIMP annihilates to fermions, it will scatter on fermions
may be even coherently on all quarks in a nucleus
c
WIMP from galactic halo
relative speed ~ 270 km/sec
nucleus in your detector

## Slide 20: WIMP recoil spectrum
Quenchingfaktor = 0.3 (Ge-Ionisation)
background signals
detector energy threshold

## Slide 21: Direct WIMP Search - Sensitivity
Quenchingfaktor = 0.3 (Ge-Ionisation)
background signals
detector energy threshold
lower threshold
nreduce background

## Slide 22
elastic scattering on nuclei
in a detector
Mass 50 GeV - ~ 1000 GeV
speed relative to earth 270 km/s ( ~ our orbital speed around galactic center )
Weakly Interacting Massive Particles = WIMPs
nuclear recoils:
c
WIMP and nuclei have similar mass
=> ist like billiard: maximum energy transfer ~ WIMP kinetic energy
some
some
WIMP - Direct Detection

## Slide 23
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 24
Ionisation-Detectors
Ge Detectors, set up in low background environment for double beta decay search

## Slide 25
Ionisation-Detectors
Ge Detectors, set up in low background environment for double beta decay search

## Slide 26
Experiments:
COSME, IGEX: USA, Spain, Russia
Heidelberg-Moscow, HDMS: Germany, Russia
Ionisation-Detectors
Ge Detectors, set up in low background environment for double beta decay search
energies are
electron equivalent, not recoil !!

## Slide 27
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
goal 1t projects
Heidelberg Moscow 1996
DAMA 1996 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004

## Slide 28
NaI
NaI
NaI
NaI
PMT
PMT
DAMA
in Gran Sasso Underground-Lab 3600mwe, italian and chinese groups
shielding against a, b, g and neutrons from outside to inside:
paraffine / polyethylen / Cd foil / Pb / Cu
gastight box, flushed with radio-pure nitrogene (to avoid radon from air)
NaI-Scintillation Detectors
each detectorr:
2 radio-pure PM
in coincidence
2keV software threshold (2keVee = 20keV nuclear recoil !)
9 x 9.70kg NaI in Cu-housing
in DAMA set up 1991 – 2003
later 2003 upgrade to DAMA /LIBRA
with a total of 250kg NaI

## Slide 29
Underground-Labs
for rare event
searches
(Dark Matter search
Neutrino-detection
trace element contamination
...)
Gran Sasso Lab
shielded by
1.5km rock
Soudan Mine USA

## Slide 30
230 km/s
60o
30 km/s
our speed
relative to WIMP-halo
(230 ± 15) km/s
summer
winter
recoil - energy
Counts / keV/Tag
modulation of
recoil-spectrum
DAMA: Dark Matter signature by annual modulation
NaI-Scintillation Detectors – Large Target Mass possible !

## Slide 31
Data after 7 years of data taking ( ~ 300.000 kg x days)
modulation 6.3s confidence
Riv.N.Cim. 26/1 (2003), 1-73
DAMA - experiment:
first indication to WIMPs ? (1998) by annual modulation
NaI-Scintillation Detectors – Large Target Mass possible !

## Slide 32
Model Independent Annual Modulation Result
experimental single-hit residuals rate vs time and energy
DAMA/NaI (7 years) + DAMA/LIBRA (4 years) Total exposure: 300555 kgday = 0.82 tonyr
2-5 keV
2-6 keV
A=(0.0215±0.0026) cpd/kg/keV
2/dof = 51.9/66 8.3  C.L.
2-4 keV
The data favor the presence of a modulated behavior with proper features at 8.2s C.L.
A=(0.0176±0.0020) cpd/kg/keV
2/dof = 39.6/66 8.8  C.L.
A=(0.0129±0.0016) cpd/kg/keV
2/dof = 54.3/66 8.2  C.L.
Absence of modulation? No
2/dof=117.7/67  P(A=0) = 1.310-4
Absence of modulation? No
2/dof=116.1/67  P(A=0) = 1.910-4
Absence of modulation? No
2/dof=116.4/67  P(A=0) = 1.810-4
ROM2F/2008/07
Acos[w(t-t0)] ; continuous lines: t0 = 152.5 d, T = 1.00 y

## Slide 33
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
goal 1t projects
Heidelberg Moscow 1996
DAMA 1998 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004

## Slide 34: WIMP recoil - Signal Quenching
Quenchingfaktor = 0.3 (Ge-Ionisation)
background signals
detector energy threshold
electromagnetic
interaction
scattering and recoil
quenchingfactor = 0.1 (NaI-Szintillation)
quenchingfactor = 0.3 (Ge-Ionisation)

## Slide 35: Calorimetry – measure total energy (heat- or phonon- signal)
thermometer:
superconducting phase-transition-thermometer
NTD semicondutors
Energy deposition
by scattering
=> temperature rise
at very low temperature (~20mK)
=> high sensitivity, small C
thermometer
target crystal
incident
particle
(WIMP)
coupling to heat sink
sehr sensitiv auf Kernrückstöße
auch ohne Wechselwirkung mit Atomhülle
niedrige
Energieschwelle
große Freiheit bei der
Wahl des Detektormaterials
Notes: TÜ

## Slide 36: Calorimeters – Phase Transition Thermometers
tungsten Tc≈15mK
Sapphire- or CaWO4 -absorber
250gr, 4cm x 4cm x 4cm
CRESST-collaboration
(Cryogenic Rare Event Search with Superconducting Thermometers)
Max-Planck-Institut München, TU München
Universität Tübingen, Oxford University, Gran Sasso Labor
heat capacitance sapphire 250gr
3.4 MeV / K @ 25mK
220 GeV / K @ 1K
small change in temperature
=> large change in resistance
signal-read out by SQUID
superconducting phase-
transition-thermometer
transition edge sensor
SPT
TES

## Slide 37: Calorimetry – measure total energy (heat- or phonon- signal)
thermometer
target crystal
incident
particle
(WIMP)
coupling to heat sink
very sensitive to nuclear recoils
no quenching
low energy threshold
300 eV in 300gr target
possibility for a large
variety of target materials
all dielectric crystals
Notes: TÜ

## Slide 38: Calorimetry – measure total energy (heat- or phonon- signal)
Tungsten Thermometer
Tc 15mK
energy threshold, a few 100eV !
Sapphire- Absorber
250gr, 4cm x 4cm x 4cm
Notes: TÜ

## Slide 39
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
goal 1t projects
Heidelberg Moscow 1996
DAMA 1998 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004
CRESST 2002
Calorimetry only
very good in threshold
very bad in background

## Slide 40
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 41: Direct WIMP Search - Sensitivity
Quenchingfaktor = 0.3 (Ge-Ionisation)
background signals
detector energy threshold
lower threshold
nreduce background

## Slide 42
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
WIMP Scattering
c
scalar coupling: stot ~ A2 ×sWIMP-Nucleon
coherent on all nucleons
=> Enhanced sensitivity to sWIMP-Nucleon
axial coupling: stot ~ I(I+1) ×sWIMP-Nucleon
I nuclear spin
=> sensitivity to sWIMP-Nucleon
not enhanced

## Slide 43
mass 50 GeV - ~ 1000 GeV
speed relative to earth 270 km/s
( ~ our speed going around the galaxy)
nuclear recoils: reduced efficiency for charge and/or light production
a few keV of energy only
cross section
locale WIMP-density
very very very rare scattering events (< 1 / week / kg)
sensitivity today < 1 / few month / kg
c
WIMP – direct detection
sc < 10-36cm2
rc 0.3 GeV / cm3
elastic scattering on nuclei in a detector
corresp. 3 WIMPs(100GeV) / Liter
75000 /s /cm2

## Slide 44
radioactivity from environment: > 1Hz/kg ~ 106 events /kg /week
=> ‘clean‘ shielding: (old) Pb, Cu
Detector
count rate
spectrum
Environmental Radioactivity
Uranium
Thorium
Potassium
Cesium
Radon
etc, ...
required sensitivity ~ 1 event / kg / month,year (even 100 x less in future)

## Slide 45: Background - Examples
we need a lot of shielding against gammas
gammas of highest energy determine shielding
highest gamma energy from U / Th chains:
2.6 MeV, 208Tl, ~30% branching
TTh1/2 = 1.4 * 1010y => 1 g Th = 1.3*1011 decays / y
=> 4*1010 cts / y in 2.6 MeV gammas
( = 1300 cts / sec)

## Slide 46: Background - Examples
1 g Th
4*1010 cts / y
in 2.6 MeV gammas
contaminations: rock ~ 10-6 gTh/g
Aluminum ~ 10-7 gTh/g
steel ~ 10-9 gTh/g
Laboratory 10m x 10m x 10m => 600m2 surface
2.6MeV gamma in rock ~ 5cm
=> 600m2 x 0.05m
= 30m3 rock ‘visible’ in the gamma light

## Slide 47: Background - Examples
30m3 rock ‘visible’ in the gamma light
~ 100 t of rock * 10-6 => 100 gTh
=> 4*1012 cts / y
~ 1010 – 1011 towards the experiment
need a reduction by a factor 109, ln(109) ~ 20
20 times mean free path, 2.6MeV in water ~ 25cm
need (4-5)m water !!! or ~ 40cm Pb !!!

## Slide 48: Background - Examples
detector holders
Aluminum ~ 10-7 gTh/g
1 g Th => 4*1010 cts / y in 2.6 MeV gammas
to stay below 1000 cts / y
max 10-7 g Th
max. 1 g Alu
only selected materials, as little as possible

## Slide 49: Background - Examples
Photomultipliers
PM – glass => 40K : 1460 keV, contam. 10-6 gK / g
1g natK => 5 cts / sec, 1.4* 108 cts / y
2 kg glass => 2*10-3 g K => 300000 cts/y
need more than factor 1000 reduction => ln(1000) ~ 7
=> 1m – 2m water

## Slide 50
WIMP Direct Detection - Shielding

## Slide 51
Radon in Air => well controlled atmosphere

## Slide 52
210Pb in Pb shielding
22 years half live => old Pb - or special clean Cu

## Slide 53
Detector
rate,
spectrum
WIMP Direct Detection - Signal and Background
required sensitivity ~ 1 event / kg / week, month (future even 100 x less)
radioactivity: > 1Hz/kg ~ 106 events /kg /week => ‘clean‘ shielding: (old) Pb, Cu
muons ~ 0.1Hz/kg: ~ 105 events /kg /week, => needs ~ 1.5 km Rock
=> Underground-Laboratory

## Slide 54: WIMP Direct Detection - Underground Laboratory
Gran Sasso Lab
at least
1.5km
of rock coverage
at all directions
shielding from
cosmic rays
Soudan Mine USA
SNOLab, Canada

## Slide 55
    LNGS - Italy
    LSM - France
    LSC - Spain
    Boulby- Great Britain
    CUPP - Finland
Laboratoire Souterrain
de Modane, France
Laboratorio Subterraneo
de Canfranc, Spain
LSC
Institute of Underground
Science in Boulby mine,
UK
IUS
Laboratori Nazionali del
Gran Sasso, Italy
LNGS
Underground-Laboratories in Europe
http://astroparticle.aspera-eu.org

## Slide 56
radioactivity from environment: > 1Hz/kg ~ 106 events /kg /week
=> ‘clean‘ shielding: (old) Pb, Cu
Detector
count rate
spectrum
Environmental Radioactivity, almost entierly a, b, g
Uranium
Thorium
Potassium
Cesium
Radon
etc, ...
required sensitivity ~ 1 event / kg / month,year (even 100 x less in future)

## Slide 57: Quenching of WIMP recoil spectrum
electromagnetic
interaction
scattering and recoil
Quenchingfaktor = 0.3 (Ge-Ionisation)
quenchingfactor = 0.1 (NaI-Szintillation)
quenchingfactor = 0.3 (Ge-Ionisation)
background signals
detector energy threshold

## Slide 58
measure phonons (heat) and charge (or light)
distinguish electromagnetic radiation a, b, g (main background)
from
nuclear recoils (WIMP and neutrons)
Phonon + Ionisation / Scintillation - Measurement

## Slide 59: Recoil Recognition by Combination of Channels - making good use of quenching -
Cryogenic Charge / Phonon
Cryogenic Light / Phonon
Liquid Noble Gas Light / Charge
radioactive
background can be rejected
=> highly improved
sensitivity

## Slide 60
Direct DM Searches using Recoil Recognition
WARP
Italy, US
ArDM
Switzerland, Spain,
UK, Poland
DEAP / CLEAN
Canada, US
prepare / run
~ 100 kg, 2011
all prepare / plan
~ 1000 kg, 2012
COUPP
USA
prepare / run
a few kg
good SD limits
PICASSO
Canada, USA, Czeck
Super CDMS
GeoDM
US, Canada,
Switzerland
all
prepare / run
~ 15 kg, 2011
planning
~ 1000 kg, 2015
CRESST
EURECA
Germany, UK, Italy
EDELWEISS
EURECA
France, Germany, UK, Russia
LUX
10 US institutions,
Moscow
XMASS
10 institutions
from Japan
prepare
~ 100 kg, 2011
run ~50 kg, 2010
planning
~1000 kg, 2013
XENON
USA, Switzerl. Italy,
Japan, Portugal, Germ.
France, China
CRYOGENIC
XENON
ARGON
DROPLETS
LIQUID NOBLE GASES
Notes: This is just a summary of what the various sensitivites mean. There are rather few events to be detected at the 10E-10 pb level.

## Slide 61
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 62: Recoil Recognition by Combination of Channels - making good use of quenching -
Cryogenic Charge / Phonon
Cryogenic Light / Phonon
Liquid Noble Gas Light / Charge
radioactive
background can be rejected
=> highly improved
sensitivity

## Slide 63: Calorimetry – measure total energy (heat- or phonon- signal)
thermometer:
superconducting phase-transition-thermometer
NTD semicondutors
Energy deposition
by scattering
=> temperature rise
at very low temperature (~20mK)
=> high sensitivity, small C
thermometer
target crystal
incident
particle
(WIMP)
coupling to heat sink
Notes: TÜ

## Slide 64
simultaneous measurement
of phonon and ionisation
signal (nuclear recoils) and
dominant background (g and b)
can be distingushed
nuclear recoils
0
10
20
30
40
50
60
70
80
0
10
20
30
40
50
60
70
80
Ionization (keV)
Recoil Energy (keV)
252
Cf +
241
Am
Phononen [keV]
Ionisation [keV]
g
b
CDMS and EDELWEISS
neutrons (external source)
gammas (external source)
Phonon Trigger Threshold
Phonon + Charge
Ionization
NTD Ge Thermistors
Ge or Si ~ 300g

## Slide 65
Ionization
NTD Ge Thermistors
Ge or Si ~ 300g
simultaneous measurement
of phonon and ionisation
nuclear recoils
0
10
20
30
40
50
60
70
80
0
10
20
30
40
50
60
70
80
Ionization (keV)
Recoil Energy (keV)
252
Cf +
241
Am
Phononen [keV]
Ionisation [keV]
g
b
CDMS and EDELWEISS
neutrons (external source)
gammas (external source)
Phonon Trigger Threshold
Phonon + Charge
EDELWEISS
Experience pour DEtecter Les Wimps En SIte Souterrain
Paris, Lyon, Grenoble, Dubna, Karlsruhe, Oxford, Sheffield
charge + phonon
(semiconductors Ge, Si)
CDMS Cryogenic Dark Matter Search
US Collaboration
charge + phonon
(semiconductors Ge, Si)

## Slide 66
until ~ 2000
NTD phonon sensors
later
TES array
(superconducting phase transition thermometer,
transition edge sensor)
segmented
charge read out
electrodes
inner ionisation
electrode
outer ionisation
electrode
passive Ge shielding
Tower
cabling
heat sinking
FETs and preamps
= 7.6cm, ~ 1 cm dick
~ 230 g
today up to 30 crystals
operaterd at ~20mK
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration

## Slide 67: .. not just temperature, but non equilibrium phonon read out
collector
large Gap
e.g. Al Tc = 1.2K
thermometer
small gap
e.g. W Tc = 0.05K
quasiparticle-trapping
large area phonon detectors
small thermometers
(C small)
or phonon
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration
TES array

## Slide 68
1 m tungsten
380m x 60m aluminum fins
Ionisation measurement:
in low-field (~volts/cm) with segmented
contacts to allow rejection of events near outer edge
Photolithographic patterning
Phonon sensors:
  4 quadrants with each 888 sensors (TES)
  operated in parallel
  TES: 1-mm-thick strip of W connected to 8
  superconducting Al collection fins
2 charge electrodes
  “Inner” fiducial electrode
  “Outer” guard ring
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration
Notes: Our detectors provide additional information to allow us to reject these surface events. Because each detector collects athermal phonons with sensors divided into 4 quadrants, (0:15)

## Slide 69
CDMS
cryostat
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration

## Slide 70
CDMS I
at Stanford
only15 mwe shielding
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration

## Slide 71
1999
all single-scatters
NR candidates
NR Band asymmetric (-3s,+1.28s)= 90% efficient
45 day measurement
4 x 160gr Ge-detectors
=> 10.6kgdays
gammas and electrons
well seperated from
nuclear recoils
13 candiates for nuclear recoils
~ 0.1 cts / kg / d / keV
simply in a cellar on campus of
Stanford University (17mwe)
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration
world best limits at that time

## Slide 72
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
goal 1t projects
Heidelberg Moscow 1996
DAMA 1998 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004
DAMA - CDMS
Controversy
DAMA: 4 y, 100kg, Gran Sasso
CDMS: 3 month, 100g, Stanford
recoil recognition
is very powerful

## Slide 73
CDMS II
at Soudan Mine
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration

## Slide 74
CDMS II
at Soudan Mine
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration

## Slide 75
Ionization
NTD Ge Thermistors
Ge or Si ~ 300g
simultaneous measurement
of phonon and ionisation
nuclear recoils
0
10
20
30
40
50
60
70
80
0
10
20
30
40
50
60
70
80
Ionization (keV)
Recoil Energy (keV)
252
Cf +
241
Am
Phononen [keV]
Ionisation [keV]
g
b
CDMS and EDELWEISS
neutrons (external source)
gammas (external source)
Phonon Trigger Threshold
Phonon + Charge
EDELWEISS
Experience pour DEtecter Les Wimps En SIte Souterrain
Paris, Lyon, Grenoble, Dubna, Karlsruhe, Oxford, Sheffield
charge + phonon
(semiconductors Ge, Si)
CDMS Cryogenic Dark Matter Search
US Collaboration
charge + phonon
(semiconductors Ge, Si)

## Slide 76
ionisation-heat-measurement
320g Ge-Detector
Fréjus-tunnel
2001: 10kg-days
EDELWEISS Phonon + Charge
Experience pour DEtecter Les Wimps
En SIte Souterrain
Paris, Lyon, Grenoble, Karlsruhe, Dubna
EDELWEISS I
until ~2003

## Slide 77
EDELWEISS II
since ~2007
EDELWEISS Phonon + Charge
Experience pour DEtecter Les Wimps
En SIte Souterrain
Paris, Lyon, Grenoble, Karlsruhe, Dubna, Oxford, Sheffield

## Slide 78
Frejus tunnel
EDELWEISS Phonon + Charge
Experience pour DEtecter Les Wimps
En SIte Souterrain
Paris, Lyon, Grenoble, Karlsruhe

## Slide 79
EDELWEISS Phonon + Charge
Experience pour DEtecter Les Wimps
En SIte Souterrain
Paris, Lyon, Grenoble, Karlsruhe
10 kg day, background free => best limits at that time
< 0.1 cts / kg / d / keV

## Slide 80
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
goal 1t projects
Heidelberg Moscow 1996
DAMA 1998 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004

## Slide 81: Phonon + Charge Surface Problem
1 m tungsten
380m x 60m aluminum fins
Problem:
surface events (electrons)
show reduced charge collection
=> reach ‘down’ into signal region
Solution:
large area phonon sensors
=> fast phonon read out
=> recognize surface events by phonon timing
~ 300gr
Ge and Si
detectors

## Slide 82
neutron source => recoils for calibration
additional timing cut => ‘clean’ region
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration

## Slide 83
ionisation yield and phonon-risetime
before risetime cut
after risetime cut
CDMS Phonon + Charge
Cryogenic Dark Matter Search
US Collaboration

## Slide 84: CDMS result - Dec 2009
raw exposure
spectrum-averaged equivalent exposure @ 60 GeV
probability of observing two or more background events
upper limit on spin-independent cross-section @ 70 GeV, 90% CL,
612 kg-days
194.1 kg-days
23%
3,8 x 10-44 cm2

## Slide 85
EDELWEISS Phonon + Charge
Experience pour DEtecter Les Wimps
En SIte Souterrain
Paris, Lyon, Grenoble, Karlsruhe
structured charge read out electrodes – modulated potential

## Slide 86
EDELWEISS InterDigit Detectors – Surface Events

## Slide 87
presently running 10 x 400 g ID
several 100 kgd already collected
raw exposure (400 g detectors)
effective exposure (160g fid.vol per detector + cuts)
upper limit on spin-independent cross-section @ 85 GeV, 90% CL
~3500 detector-days
384 kg-days
4.4 x10-44 cm2
EDELWEISS Phonon + Charge
Experience pour DEtecter Les Wimps
En SIte Souterrain
Paris, Lyon, Grenoble, Karlsruhe, Dubna, Oxford, Sheffield
Mar 2011

## Slide 88
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
goal 1t projects
Heidelberg Moscow 1996
DAMA 1998 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004
~ 0.001 cts / kg / d / keV

## Slide 89
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 90: Recoil Recognition by Combination of Channels - making good use of quenching -
Cryogenic Charge / Phonon
Cryogenic Light / Phonon
Liquid Noble Gas Light / Charge
radioactive
background can be rejected
=> highly improved
sensitivity

## Slide 91
CRESST II - Detectors
Thermometer
Thermometer
Absorber CaWO4
Phonon-Detector
reflecting foil
Licht Detector
(low T calorimeter)
c
simultaneous Light and
Phonon
CRESST
Cryogenic Rare Event Search with Superconducting Thermometers
Max-Planck-Institut München, TU München
Universität Tübingen, Oxford University, Gran Sasso
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 92
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 93
g
a
n
CaWO4
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 94
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 95
Gran Sasso Lab
at least
1.5km
of rock coverage
in all directions
Max Planck Inst. for Physics Munich
Technical University Munich
Eberhard Karls Universiy Tübingen
University of Oxford, UK
Laboratori Nazionali del Gran Sasso, Italy
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 96
CRESST Cryostat
liquid nitrogene
liquid helium
mixing chamber
internal lead shielding
external lead shielding
copper shielding
detectors
volume for experiments
(up to 100 liters)
dilution refrigerator
experimental volume - Cold Box:
shielded (14cm Cu + 20cm Pb)
cold finger passing through shielding
Cold Box made out of special
radio pure copper
  stored underground (10 m.w.e.)
  electropolished
  transport and storage in nitrogene atmosphere ( radon !)
  installation and mounting at Gran Sasso in clean room
  vacuum seals: high purity Pb
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 97
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 98
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 99
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 100: CRESST – 66 channel SQUID system and detectors
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 101
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso
Calibration of acceptance region with neutrons
Neutrons => nuclear recoils
Neutrons => ‘background’ !!

## Slide 102
Neutrons
radioacitivity
muon induced
  in rock
  in the set up
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
Veto 99%
Veto 90%
50 cm PE
no PE
m induced
in Pb.shield.
m in rock
30 cm PE
Next Background after discrimination for all experiments

## Slide 103: neutron shield PE
Shielded cryostat
PE neutron moderator
Plastic scintill. m-veto
muon veto
Neutron and Muon Shielding e.g. CRESST

## Slide 104
heat / keV
light / heat
0
50
100
150
-0.5
0.0
0.5
1.0
1.5
2004, 10.5 kg d
90% O-recoils
90% W-recoils
CaWO4
crystals
as target
g, b
nuclear recoils: dark matter, neutrons
CRESST 2004 no neutron shield

## Slide 105
Energie im Phononendetektor / keV
0
50
100
150
-0.5
0.0
0.5
1.0
1.5
2007, 3 kg d
Licht-/Phononenergie
with neutron shield and alpha recoil rejection
CRESST 2007 with neutron shield

## Slide 106
measurement end 2003: 8.1 kg days
Count rate as expected from
neutrons (1 count/kg/day)
Consistent with recoiling nuclei
from α-decays
46 keV line from
external 210Pb
contamination
reflector
a
detector
=>
cover surrounding
holders with scintillator
CRESST nuclear recoils from alpha decays

## Slide 107
exposure, two detector modules
events in signal region
upper limit on spin-independent cross-section @ 50 GeV, 90% CL
48 kg-days
3
4.8 x10-43 cm2
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso
2007 - 2008

## Slide 108
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
goal 1t projects
Heidelberg Moscow 1996
DAMA 1998 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004

## Slide 109
Recoil energy [keV]
Light
 band
 band
U/Th
a-spectrum
a-spectrum t1/2(180W) = (1.7 ± 0.2) 1018 y
1,7 · 1018 a
s ~ 4
Phys.Rev.C 70 (2004) 064606-1 und nucl-ex/0408006
CRESST rare a detection
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso

## Slide 110
γ + β band
O-recoil-band
Lines calculated from energy-resolution of light detector and known quenching factor
excellent nuclear recoil discrimination
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso
Neutron Calibration 2009-2011 run

## Slide 111
assuming
σ ∝ A2
for small WIMP masses <10 GeV only O recoils above threshold
Ca is important around 10 GeV
for large masses W dominates due to σ∝A2
Threshold 10keV
CRESST Phonon + Light
Cryogenic Rare Event Search with Superconducting Thermometers
Munich, Tübingen, Oxford, Gran Sasso
Wich nucleus is seen in CaWO4
taking into account energy threshold

## Slide 112
b+g
a
O
W
multi target
unique feature of
light – phonon
readout
presently running, first part of the data ~200kgd
alphas
low mass (n, low mass WIMPs, ..)
large mass WIMPS
CRESST recent data run 2009 - 2011

## Slide 113
γ + β band
α band
O-recoil-band
W-recoil-band
α
crystal
Pb
Pb
α
clamp not scint.
210Po 206Pb (104 keV) + α (5.4 Me)‏
< 10 GeV
> 10 GeV
CRESST recent data run 2009 - 2011

## Slide 114
Neutrons ?
α leakage ?
low mass WIMPs ?
run May 2009 – May 2011
8 detector modules
exposure 731 kg d
65 Oxygene recoil
events observed
~0,003 cts/kg/d/keV
CRESST recent data run 2009 - 2011

## Slide 115
hard (so far impossible) to be explained by neutrons
main problem:
missing double scatters in data needs low energy neutrons
strong source outside PE shield (excluded)
close by source emitting low E neutrons (impossible)
CRESST recent data run 2009 - 2011
run May 2009 – May 2011
8 detector modules
exposure 731 kg d
65 Oxygene recoil
events observed

## Slide 116
hard (if not impossible) to explain by a
no correlation with a count rate
a behave differently
CRESST recent data run 2009 - 2011
run May 2009 – May 2011
8 detector modules
exposure 731 kg d
65 Oxygene recoil
events observed

## Slide 117: Ereignisse im O-Band ?
Neutronen: wahrscheinlich NEIN, Multiplizitäten falsch
α leakage: wahrscheinlich NEIN, Überlapp zu klein
WIMPs kleiner Masse: wer weiß?
Messung läuft seit Sommer 2009
10 Detektoren (1 ZnWO4)
kein Szintillator auf Halterungen
=> Alpha-Untergrund
Datenanalyse noch nicht abgeschlossen
vorl. Ergebnisse von 400 kgd mit 9 CaWO4
=> 32 Ereignisse im O-Band !

## Slide 118
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
CoGENT 2010
goal 1t projects
Heidelberg Moscow 1996
DAMA 1998 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004
Some low WIMP mass excitement ?

## Slide 119
COGENT
Soudan Mine
US Collaboration
Ge detectors
Ionisation only
Point contact detectors
Very low threshold
Good to look for light WIMPs
low energy
excess
modulates
low mass WIMPs?

## Slide 120
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
CoGENT 2010
goal 1t projects
Heidelberg Moscow 1996
DAMA 1998 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004
Some low WIMP mass excitement ?

## Slide 121: Multi-Target: W-band quite clean !

## Slide 122: Inelastic Dark Matter
preliminary
preliminary
preliminary
preliminary
not possible,
without
separation
W-recoils
vs.
O-recoils !!

## Slide 123
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 124
Cryogenic Charge / Phonon
Cryogenic Light / Phonon
Liquid Noble Gas Light / Charge
radioactive
background can be rejected
=> highly improved
sensitivity
Recoil Recognition by Combination of Channels - making good use of quenching -

## Slide 125
WIMP
GAMMA
NUCLEAR
RECOIL
ELECTRON
Liquid Noble Gas Charge + Light

## Slide 126
Liquid Noble Gas Charge + Light
XENON
USA, Switzerland, Italy,
Portugal, Germany, France,
Japan, China

## Slide 127
XENON 10 5,4 kg target mass
calibration
with
g-source
J. Angle et al., astro-ph:0706.0039
Liquid Noble Gas Charge + Light
XENON
USA, Switzerland, Italy,
Portugal, Germany, France,
Japan, China
calibration
with
neutron source

## Slide 128
XENON
USA, Switzerland, Italy,
Portugal, Germany, France,
Japan, China
LUX
10 US institutions, Moscow
planned 100 kg fiducial
prototype tested
at Sanford Lab
XMASS
10 institutions from Japan
at Kamioka
1 phase, 850 kg total
self shielding 100 kg fid.
start ~ 2010
Liquid Xenon Charge + Light

## Slide 129
XENON
USA, Switzerland, Italy, Portugal, Germany, France, Japan, China
at Gran Sasso
48 kg fiducial / 62 kg total
starting end of 2009
achieved 2010: ~ 7 x 10-45 cm2
projected 2012: ~ 2 x 10-46 cm2
projected 2015: < 10-47 cm2
LUX
10 US institutions, Moscow
100 kg fiducial / 360 kg total
tested above ground end 2010
to be installed Sanford Lab (Davis Cavern)
Liquid Xenon Charge + Light
http://xenon.astro.columbia.edu/
XMASS
10 institutions from Japan
1 phase
at Kamioka
850 kg total , 100 kg fiducial
start set up ~ 2010

## Slide 130
XENON
USA, Switzerland, Italy, Portugal, Germany, France, Japan, China
at Gran Sasso
48 kg fiducial / 62 kg total
starting end of 2009
achieved 2010: ~ 7 x 10-45 cm2
projected 2012: ~ 2 x 10-46 cm2
projected 2015: < 10-47 cm2
Liquid Xenon Charge + Light
LUX
10 US institutions, Moscow
100 kg fiducial / 360 kg total
tested above ground end 2010
to be installed Sanford Lab (Davis Cavern)
XMASS
10 institutions from Japan
1 phase
at Kamioka
850 kg total , 100 kg fiducial
start set up ~ 2010

## Slide 131
XENON
USA, Switzerland, Italy, Portugal, Germany, France, Japan, China
at Gran Sasso
48 kg fiducial / 62 kg total
starting end of 2009
achieved 2010: ~ 7 x 10-45 cm2
projected 2012: ~ 2 x 10-46 cm2
projected 2015: < 10-47 cm2
Liquid Xenon Charge + Light
LUX
10 US institutions, Moscow
100 kg fiducial / 360 kg total
tested above ground end 2010
to be installed Sanford Lab (Davis Cavern)
XMASS
10 institutions from Japan
1 phase
at Kamioka
850 kg total , 100 kg fiducial
start set up ~ 2010

## Slide 132
XENON
USA, Switzerland, Italy, Portugal, Germany, France, Japan, China
at Gran Sasso
50 kg fiducial / 170 kg total funded
starting end of 2009
projected 2010: ~ 2 x 10-45 cm2
projected 2012: ~ 2 x 10-46 cm2
projected 2015: < 10-47 cm2
LUX
10 US institutions, Moscow
100 kg fiducial / 360 kg total
tested above ground end 2010
to be installed Sanford Lab (Davis Cavern)
XMASS
10 institutions from Japan
1 phase
at Kamioka
850 kg total , 100 kg fiducial
start set up ~ 2010
Liquid Xenon Charge + Light

## Slide 133
WARP
Italy, US
at Gran Sasso
140 kg running
1000 kg: planned 2012
ArDM
Switzerland, Spain, UK, Poland
1000 kg R & D, prototype
DarkSide
US
proposed, depleted Ar
DEAP / CLEAN
Canada, US
1-phase, SNOLAB
150 kg set up start 2010
1000 kg start 2012
WARP
Liquid Argon Charge + Light

## Slide 134
WARP
Pavia, Padova, Napoli, L‘Aquila, Princeton
at Gran Sasso
140kg starting / running
WARP 100: goal < 10-44 cm2
WARP 1 ton: goal 2012 < 10-45 cm2
SuperWARP 10 ton … < 10-46 cm2
ArDM
Zürich, Granada, Madrid, Sheffield, Warszaw
still R & D phase, but 1-ton R & D
DarkSide
10 US institutions
proposed for SNOLAB, depleted Ar
DEAP / CLEAN
4 Canada + 10 US institutions
1-phase
SNOLAB
150kg fiducial being set up
1000 kg fiducial start 2012 ?
Liquid Argon Charge + Light

## Slide 135
WARP
Pavia, Padova, Napoli, L‘Aquila, Princeton
at Gran Sasso
140kg starting / running
WARP 100: goal < 10-44 cm2
WARP 1 ton: goal 2012 < 10-45 cm2
SuperWARP 10 ton … < 10-46 cm2
ArDM
Zürich, Granada, Madrid, Sheffield, Warszaw
still R & D phase, but 1-ton R & D
DarkSide
10 US institutions
proposed for SNOLAB, depleted Ar
DEAP / CLEAN
4 Canada + 10 US institutions
1-phase
SNOLAB
150kg fiducial being set up
1000 kg fiducial start 2012 ?
Liquid Argon Charge + Light

## Slide 136
WARP
Pavia, Padova, Napoli, L‘Aquila, Princeton
at Gran Sasso
140kg starting / running
WARP 100: goal < 10-44 cm2
WARP 1 ton: goal 2012 < 10-45 cm2
SuperWARP 10 ton … < 10-46 cm2
ArDM
Zürich, Granada, Madrid, Sheffield, Warszaw
still R & D phase, but 1-ton R & D
DarkSide
10 US institutions
proposed for SNOLAB, depleted Ar
DEAP / CLEAN
4 Canada + 10 US institutions
1-phase
SNOLAB
150kg fiducial being set up
1000 kg fiducial start 2012 ?
Liquid Argon Charge + Light

## Slide 137
XENON Charge + Light
USA, Switzerland, Italy,
Germany, France,
Portugal, Japan, China
XENON 10: USA, Germany, Italy
astro-ph:1104.2549v2
astro-ph:0706.0039
5.5 kg
58.6 kgd
10
target,
exposure
background events
~1 cts / 6 kgd
48 kg
1471 kgd
3
target,
exposure
background events
~ 1 cts / 500 kgd
g bckgrnd ~ 50 x lower
XENON10
2007
XENON100
2011
fiducial volume
measurement
effective exposure
events in signal region
upper limit on spin-independent cross-section @ 50 GeV, 90% CL
48 kg
100 days
1471 kgd
3
7 x10-45 cm2

## Slide 138
WIMP Mass / GeV/c2
WIMP – Nucleon Cross Section / cm2
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
CoGENT 2010
goal 1t projects
Heidelberg Moscow 1996
DAMA 1998 / LIBRA 2008
CDMS 2000
EDELWEISS 2002
CRESST 2009
XENON 2011
CDMS 2011
EDELWEISS 2011
IGEX 1998
Baltz, Gondolo MSSM 2001
Trotta et al CMSSM 2008
Baltz, Gondolo 2004
~ 0.0001 cts / kg / d / keV

## Slide 139
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 140
COUPP
USA
20kg running, 60kg in prep.
SNOLAB or DUSEL
several 100 kg modules
2012 ++
PICASSO
Canada, USA, Czeck 1.9 kg running since 2009
new SD constraints from
moving to larger lab within SNOLAB
Superheated Droplets
temperature and pressure conditions
such, that only nuclear recoils can trigger
bubble formation

## Slide 141
COUPP
Chicago, Fermilab, Indiana
video read out
2 kg test limited by α background
20kg running
60kg at 300 mwe in preparation
SNOLAB or DUSEL
several 100 kg modules
construction 2012 ++
PICASSO
Montreal, Queens, Edmonton, SNOLAB, Indiana, Prague
acoustic (piezo) readout
1.9 kg running since 2009
new spin dep constraints from 14 kg d
moving to larger lab within SNOLAB
Superheated Droplets
temperature and pressure conditions
such, that only nuclear recoils can trigger
bubble formation

## Slide 142
COUPP
Chicago, Fermilab, Indiana
video read out
2 kg test limited by α background
20kg running
60kg at 300 mwe in preparation
SNOLAB or DUSEL
several 100 kg modules
construction 2012 ++
PICASSO
Montreal, Queens, Edmonton, SNOLAB, Indiana, Prague
acoustic (piezo) readout
1.9 kg running since 2009
new spin dep constraints from 14 kg d
moving to SNOLAB
Superheated Droplets
temperature and pressure conditions
such, that only nuclear recoils can trigger
bubble formation

## Slide 143
c
Direct Search for Particle Dark Matter
Dark Matter - Physics beyond the Standardmodel
Direct Searches - Basics
Detection Methods - Ionisation early DM projects, 2b0n Exp.
- Scintillation DAMA / LIBRA
- Calorimetry CRESST
The Background Challenge
Charge - Phonon - CDMS
- EDELWEISS
Light - Phonon - CRESST
Charge - Light - XENON
- other Xenon and Argon projects
Superheated Droplets
Dark Matter – Status – Future - Summary

## Slide 144
Present best sensitivities
(for spin independent WIMP scattering)
Cryogenic
Liquid Xenon
+ other techniques
(doing better for spin dependent WIMP scattering)
superheated droplets
anorganic scintillators
…
we have different techniques
with promising sensitivity
simultaneously
LHC is starting
and will march upward in mass
Direct Dark Matter Searches
WIMP Nucleon Cross Section / cm2
100
101
102
103
WIMP Mass / GeV
10-40
10-42
10-44
10-46
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
Notes: This is just a summary of what the various sensitivites mean. There are rather few events to be detected at the 10E-10 pb level.

## Slide 145
Remarkable progress
x 1000 improvement in
sensitivity
in 10 yrs
a number of experiments
are demonstrating
sensitivities
interesting from SUSY
perspective
Direct Dark Matter Searches
WIMP Nucleon Cross Section / cm2
100
101
102
103
WIMP Mass / GeV
10-40
10-42
10-44
10-46
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
Notes: This is just a summary of what the various sensitivites mean. There are rather few events to be detected at the 10E-10 pb level.

## Slide 146
WIMP Nucleon Cross Section / cm2
100
101
102
103
WIMP Mass / GeV
10-40
10-42
10-44
10-46
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
even if SuSy particles are discovered at LHC
hard to determine contribution to ‘Dark Matter’ Wh2 with good accuracy
=> need direct / indirect detection experiments to prove new particles = DM
LHC
Cryogenic
DM Exp.
25 kg Target
Complementarity
can explore
different
parameters
LHC and Dark Matter

## Slide 147
past/ presently:
results from
a few kg targets
now and coming year(s):
projects prepare / run
a few 10kg targets
where to go:
need in future
ton scale targets
WIMP Nucleon Cross Section / cm2
1 ev / kg / month
1 ev / 10 kg / year
1 ev / 1000 kg / year
100
101
102
103
WIMP Mass / GeV
10-40
10-42
10-44
10-46
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
Direct Dark Matter Searches - Future
Notes: This is just a summary of what the various sensitivites mean. There are rather few events to be detected at the 10E-10 pb level.

## Slide 148
Cryogenic Dark Matter Searches in Europe
CRESST
TU Munich, MPI Munich,
Tübingen,
Oxford, Gran Sasso
phonon-light
W, Zn, Ca, O
LNGS - Gran Sasso
3kg fiducial running
goal: 15 kg nxt 2-3 yrs
with diff.targets in same setup
EDELWEISS
Saclay, Orsay, Lyon,
Grenoble, Dubna, Oxford
KIT Karlsruhe
phonon-charge
Ge
LSM - Modane
2kg fiducial running
goal: 6 kg fid. in 2010
20 kg fid. end 2011
EURECA
TU Munich, MPI Munich,
KIT Karlsruhe,
Uni Tübingen,
Oxford, Sheffield,
Saclay, Orsay, Grenoble,
Lyon, Dubna, Kiev,
Zaragoza
phonon-charge/light
Ge, W, Zn, Ca, O
LSM
goal: 1000kg 2015-2018

## Slide 149
EURECA
2009/11: design study => TDR
2011/12: LSM excavation
+ construction EURECA components
~ 100 kg fiducal target at present sites,
~ 10-45 cm2
2013/14: construction at LSM
2015: begin data taking at LSM
2015 – 2018:
continuous upgrade to 1t target
~ 10-46cm2
Existing laboratory
New LSM extension
Possible EURECA Facility Layout
combines all European
cryogenic DM efforts:
R&D cooperation with CDMS/GeoDM
Germany, France, UK,
Spain, Russia, Ukraine
+ GeoDM (SuperCDMS)

## Slide 150
XENON 100 +
at Gran Sasso
50 kg fiducial / 170 kg total funded
starting end of 2009
acieved 2011: ~ 7 x 10-45 cm2
projected 2012: ~ 2 x 10-46 cm2
XENON 1t
projected 2013:
1000 kg target < 10-47 cm2
USA, Switzerland, Italy, Portugal, Germany, France, Japan, China
XENON
+ LZ, ArDM, DarkSide, CLEAN

## Slide 151
WIMP will first show up
with only a few events
(possibly for many years)
definite signal needs
seen by many experiments
seen with different targets
confidence, WIMP properties
WIMP Nucleon Cross Section / cm2
1 ev / kg / month
1 ev / 10 kg / year
1 ev / 1000 kg / year
100
101
102
103
WIMP Mass / GeV
10-40
10-42
10-44
10-46
http://dmtools.brown.edu
Gaitskell, Mandic, Filippini
LHC
Cryogenic
DM Exp.
25 kg Target
Dark Matter Search - Future
good chances to see
Dark Matter by direct
detection within the
next 5-10 years
target variation
WIMP mass
LHC might discover
supersymmetric particles
Masses
Same Particles ?

## Slide 152
Dark Energy Wvac = 73 %
Dark Matter Wmat = 23 %
normal Matter Wmat = 4%
‘Standardmodel’ of Cosmology
expected from
Standardmodel
possible explanations
beyond the Standardmodel
0 or 10 120
0 or 1055 - 120
0 %
0.1 – 2 %
0 % or 10 120
4-6 %
0 %
may be 4 %
Physics beyond the Standardmodel
at least one of the ‘standards‘ has to be changed (most likely both)
(direct ) Dark Matter search is testing both
exciting times
Standardmodel of Particle Physics